C-Det Crosstalk Analysis
Dr. Peter Monaghan
Parker Reid
Ralph Marinaro
Jefferson Labs
St. Mary's University
Christopher Newport University

---
Define Cuts
- ADC spectrum cut defined on adjancent paddles as having no signal (<10) and in signal paddle with large amplitude of channels (>200)
- To test for crosstalk, check for large TDC value (>500) firing in adjacent paddle not from signal paddle
- High voltage for PMT set to 775V. Then reduced to 750V.

---
Ex. PMT #7 Pixel #13
- Black – ADC > 200
  Adj. ADCs < 10
        - Num. Of Events: 246
- Red – ADC > 200
  Adj. ADC < 10
  Adj. TDC > 500
        - Num. Of Events: 42 (17.1%)
Num.
of Events
Channels
Ideally Red events should be ~ 0.

---
PMT #7: % Crosstalk per Pixel
Black – PMT set at	775V
Red – PMT set at	750V
Only analyzes effects of adjacent paddles in scintillating bar.
Further analysis needed to see crosstalk effects of all pixels in PMT.
Percent Crosstalk
Pixel #

---
Going Forward
- Gathering more statistics ( 1e6 events)
- Further reduction of High Voltage
- Investigating regions of high cross talk percentages (opening up the detector)